## Sheet1
| ChatGPT-4 | h2ogpt-4096-llama2-70b-chat | Meta-Llama-3-70B-Instruct | Mistral-7B-Instruct-v0.3 | Mixtral-8x7B-Instruct-v0.1 | note
Low Static Fan Fault | P | P | P | P | P | * All good
Mix Temp Error High | F | F | F | F | F | * LLMs dont appear to see a problem as if air mixing chamber is after heat/cool coils
Mix Temp Error Low | F | F | P | F | F | * LLMs dont appear to see a problem as if air mixing chamber is after heat/cool coils
Economer In Hot OAT | P | P | P | F | F | * LLM don’t explicity state economizer fault in response but notice we should be bringing in excessive hot air from outside
Heat Valve Fail In Winter | P | F | P | F | F | * LLMs that fail don’t indicate a problem with heating valve open 100% and no rise in temperature post heat coil.